Am J Respir Crit Care Med. 2002 Feb 15;165(4):456-62.

# Improved arterial oxygenation with biologically variable or fractal ventilation using low tidal volumes in a porcine model of acute respiratory distress syndrome.

Boker A, Graham MR, Walley KR, McManus BM, Girling LG, Walker E, Lefevre GR, Mutch WA.

Department of Anesthesiology, University of Manitoba, Winnipeg, Canada.

We compared biologically variable ventilation (V (bv); n = 9) with control mode ventilation (V (c); n = 8) at low tidal volume (VT)--initial 6 ml/kg--in a porcine model of acute respiratory distress syndrome (ARDS). Hemodynamics, respiratory gases, airway pressures, and VT data were measured. Static P-V curves were generated at 5 h. Interleukin (IL)-8 and IL-10 were measured in serum and tracheal aspirate. By 5 h, higher Pa(O(2)) (173 +/- 30 mm Hg versus 119 +/- 23 mm Hg; mean +/- SD; p < 0.0001 group x time interaction [G x T]), lower shunt fraction (6 +/- 1% versus 9 +/- 3%; p = 0.0026, G x T) at lower peak airway pressure (21 +/- 2 versus 24 +/- 1 cm H(2)O; p = 0.0342; G x T) occurred with V (bv). IL-8 concentrations in tracheal aspirate and wet:dry weight ratios were inversely related; p = 0.011. With V (c), IL-8 concentrations were 3.75-fold greater at wet:dry weight ratio of 10. IL-10 concentrations did not differ between groups. In both groups, ventilation was on the linear portion of the P-V curve. With V (bv), VT variability demonstrated an inverse power law indicating fractal behavior. In this model of ARDS, V (bv) improved Pa(O(2)) at lower peak airway pressure and IL-8 levels compared with V (c).

PMID: 11850336 [PubMed - indexed for MEDLINE]